Please note: This document only goes over checking the speed on the HMC side.  It must also be checked for the other side where the cable from the HMC connects into its switch.

1. To view the port speed that the HMC uses to communicate with its managed systems, log in to the HMC gui.

2. In the left hand window pane, click:

"Welcome".

The "Welcome" screen appears.

3. In it, select:

"HMC Management".

The "HMC Management" window will appear.

4. In it, select:

"Change Network Settings".

The "Change Network Settings" window will appear.

5. In it, select:

"LAN Adapters".

6. In it, select:

"Ethernet eth0 ..."

Select:

"Details..."

The "LAN Adapter Details" window appears.

7. In the "Local LAN Network Information" section, make

sure that the follow parameters are set:

LAN interface address:	=> Private

Media Speed (Ethernet)	=> Autodection

8. If they are not, change them as listed above, and click:

"OK"

at the "LAN Adapter Details" window, and:

"OK"

back at the "Customize Network Settings" windows.

(Otherwise, you can just Cancel out of the windows.)

9. Log off the HMC gui, by clicking:

"Logoff"

in the upper right hand corner.